## Sizing
Tank Sizing
Food Waste (lb/yr) | Combined Waste (lb/yr) | water (lb/yr) | Volume | SRT | Tank Volume |  |  | Density of water (lb/yd3) | Density Organic Waste (lb/yd3)
328290032.1719 | 328290032.1719 | 656580064.3439 | 181683798.6267 | 30 | 5450513958.7998 |  |  | 1686 | 1000
Biogas Production
VSFw | VSFw kg/d | VCH4FW | VCH4 Total Per day | VCH4 Scaling
80412673640322 | 80412673640.322 | 3.498e+13 | 95834282283.6714 | 67083997598.57
CHECKS
SRT | CODFw | OLR | C:N Ratio | COD Consumed | COD Removed as Biogas | % COD Removal | VS Destroyed | VS Remaining | % VS Destroyed | VS Remaining after destroyed | % VS Destroyed of the remaining | Methane Produced
4.5106 | 1.03 | 1.53 | 54.8 | 123031390669.6927 | 191668564.5673 | 0.15579 | 1.53 | 80287400068.7094 | 0.15579 | 122845304684.6758 | -52.7686
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I don’t know what this fomula is Reply: its from his example notes like where he does a full anerobic digester problem

## COSTS
| Capital Expenses |  |  |  | Operations and Maintenance Expenses |  |  |  | Revenue
| Description | Units | Unit Cost |  | Description | Units | Unit Cost |  | Description | Units | Unit Cost
| Excavation - soil (includes hauling) | per cubic yard | 1.31 |  | Biogas cleaning equipment - co2 scrubber | per standard cubic meter | 0.3 |  | Tipping Fees | Per Ton | 60
| Excavation - rock (includes hauling) | per cubic yard | 4 |  | Biogas combustion generator | per kilowatt hour | 0.007 |  | Electricity Sales | Per kwH | 0.11
| Clearing and Grubbing | per acre | 3643 |  | Biogas cleaning equipment - siloxane scrubber | per standard cubic meter | 0.6 |  | Renewable Natural Gas Sales | Per million BTU | 39
| Front End Loader | per each | 300000 |  | Labor: Digester operator | per year | 152400
| Biogas cleaning equipment - siloxane removal | per standard cubic foot per minute | 2000 |  | Anaerobic digester O&M (>750,000 gal) | per year per gallon of digester | 0.5
| Biogas cleaning equipment - co2 scrubber | per standard cubic foot per minute | 2000 |  | Anaeorbic digester O&M (500,000 gal - 750,000 gal) | per year per gallon of digester | 0.7
| Biogas combustion generator | per kilowatt | 900 |  | Anaeorbic digester O&M (100, 000 gal - 500,000 gal) | per year per gallon of digester | 1.2
| Finish Grading | per square foot | 3.47 |  | Anaeorbic digester O&M (< 100,000 gal) | per year per gallon of digester | 1.8
| Anaeorbic digester (> 750,000 gal) | per gallon | 5 |  | Depackaging system O&M (max capacity of 25 tons per hour) | per year | 1500
| Anaeorbic digester ( 500,000 gal - 750,000 gal) | per gallon | 7 |  | Depackaging system O&M (max capacity of 9 tons per hour) | per year | 650
| Anaeorbic digester (100, 000 gal - 500,000 gal) | per gallon | 12 |  | Depackaging system O&M (max capacity of 2 tons per hour) | per year | 360
| Anaeorbic digester (< 100,000 gal) | per gallon | 18
| Flare | per standard cubic foot per minute | 400
| Depackaging system (max capacity of 25 tons per hour) | per each | 15000
| Depackaging system (max capacity of 9 tons per hour) | per each | 6500
| Depackaging system (max capacity of 2 tons per hour) | per each | 3600
Year | Expense | Price |  | Year | Expense | Price |  | Year | Expense | Price |  | Year | Expense | Price
1 | Anaeorbic digester (> 750,000 gal) |  |  | 1 | Biogas combustion generator |  |  | 1 | Anaerobic digester O&M (>750,000 gal) |  |  | 1 | Labor: Digester operator
2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2
3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3
4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4
5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5
6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6
7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7
8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8
9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9
10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10
11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11
12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12
13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13
14 |  |  |  | 14 |  |  |  | 14 |  |  |  | 14
15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15
16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16
17 |  |  |  | 17 |  |  |  | 17 |  |  |  | 17
18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18
19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19
20 |  |  |  | 20 |  |  |  | 20 |  |  |  | 20
21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21
22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22
23 |  |  |  | 23 |  |  |  | 23 |  |  |  | 23
24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24
25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25
26 |  |  |  | 26 |  |  |  | 26 |  |  |  | 26
27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27
28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28
29 |  |  |  | 29 |  |  |  | 29 |  |  |  | 29
30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30
31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31
32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32
33 |  |  |  | 33 |  |  |  | 33 |  |  |  | 33
34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34
35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35
36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36
37 |  |  |  | 37 |  |  |  | 37 |  |  |  | 37
38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38
39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39
40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40